Baxi S.p.A.
                                                                      36061 Bassano del Grappa (VI)
                                                                       Italy
                                                                      Via Trozzetti, 20
                                                                       Tel: +39 0424 517111

code 8435260 –    IGNITOR

Characteristics : Electric component

When Igniter receives input voltage (~220V) It creates high voltage impulses which produce sparks on ignition electrode to fire gas on the burner.

Technical Characteristics :

Nominal tension : 220 – 240Vac

Frequency : 50 – 60 Hz

Range temperature : -20 °C +85 °C

Absorbed power : max 2.5VA

Material : plastic  + electric parts

### Weight :  0,090 Kg  (net 0,082 Kg)