Baxi S.p.A.
                                                                      36061 Bassano del Grappa (VI)
                                                                       Italy
                                                                      Via Trozzetti, 20
                                                                                                      Tel: +39 0424 517111

IGNITER  ANSTOSS  L=400 MM

Code 8511790

This IGNITER for Gas Valve HONEYWELL create sparks on ignition electrode when boiler start-up for ignition of gas on the burner.

When Igniter receives input voltage (~220V) It creates high voltage impulses which produce sparks on ignition electrode to fire gas on the burner.

Characteristics :

### Technical characteristics :

### material : casing PA6±30% in glass fibers with brown color RAL 8088

### Weight :  0,113 (0,105)