Baxi S.p.A.
                                                                      36061 Bassano del Grappa (VI)
                                                                       Italy
                                                                      Via Trozzetti, 20
                                                                       Tel: +39 0424 517111

code 5407830 -  INSULATION BOOT - ELECTRODE

Characteristics : insulation component

### Technical characteristics : component used to protect electric connection between ignition cable and ignition electrode

### Material : silicone

### Weight : 0.010 Kg   ( Net. 0.002 Kg )