Baxi S.p.A.
                                                                      36061 Bassano del Grappa (VI)
                                                                       Italy
                                                                      Via Trozzetti, 20
                                                                       Tel: +39 0424 517111

code 8418870 - LEAD - SENSING ELECTRODE

Characteristics : Electric component

### Technical characteristics : sensing electrode cable

### Material : silicone rubber with glasses fiber + copper wire

### Weight : 0.019 Kg   ( Net. 0.011 Kg )