Baxi S.p.A.
                                                                      36061 Bassano del Grappa (VI)
                                                                       Italy
                                                                      Via Trozzetti, 20
                                                                       Tel: +39 0424 517111

code 3611300 -  PUMP (UPS 15-50 G1 H6)

Characteristics : Hydraulic component

### Technical characteristics :

### Induction motor 2 poles

### Pomp with three speeds

### Nominal tension : 230 Vac

### Frequency : 50 Hz

### Material : Impeller in composite  +  aluminum alloy + carbon + ceramic + cast iron

### Weight : 2.358 Kg   ( Net. 2.245 Kg )