Baxi S.p.A.
                                                                      36061 Bassano del Grappa (VI)
                                                                       Italy
                                                                      Via Trozzetti, 20
                                                                       Tel: +39 0424 517111

code 0616670 -  BI-THERMAL HEAT EXCHANGER+ OR

Characteristics :  Hydraulic component

### Technical characteristics :

### Maximum work pressure primary circuit : 3 bar

### Maximum work pressure sanitary circuit : 8 bar

### Maximum work temperature primary circuit : 110 °C

### Maximum work temperature primary circuit : 100 °C

### Material : Coppers’ braze welding with paint for high temperature

### Weight :   4.150 Kg