Baxi S.p.A.
                                                                      36061 Bassano del Grappa (VI)
                                                                       Italy
                                                                      Via Trozzetti, 20
                                                                       Tel: +39 0424 517111

code 5695650 - FAN 1 SPEED 75W 230V

Characteristics :  Electric component

### Technical characteristics :

Nominal tension : 230 Vac

Frequency : 50 Hz

Power absorbed : 75 W

### Material : Metal sheet and electric components

### Weight : 2.124 Kg   ( Net. 1.822 Kg )