Baxi S.p.A.
                                                                      36061 Bassano del Grappa (VI)
                                                                       Italy
                                                                      Via Trozzetti, 20
                                                                       Tel: +39 0424 517111

code 5653930 –    IGNITER WITH LEAD

Characteristics : Electric component

When Igniter receives input voltage (~220V) It creates high voltage impulses which produce sparks on ignition electrode to fire gas on the burner.

Technical Characteristics :

Nominal tension : 230Vac – 50Hz

Range temperature : -20 °C +90 °C

Nominal frequency of discharges : 10Hz

Material : Cover in PA6 + 25% glass fiber  + electric cable

### Weight :  0,050 Kg  (net 0,040 Kg)