Baxi S.p.A.
                                                                      36061 Bassano del Grappa (VI)
                                                                       Italy
                                                                      Via Trozzetti, 20
                                                                       Tel: +39 0424 517111

code 5700520 -  HEAT EXCH.H2OGAS 225mm

Characteristics : Hydraulic component

### Technical characteristics : primary exchanger

### Material : copper with protective coat

### Weight : 2.983 Kg